Zakaj učimo študente LabVIEW?

---
Nove tehnologije vodijo k hitrejšemu
razvoju merilne tehnike
PC
Digitalni
instrumenti
Radio
TV
Analogni
instrumenti
Čas
Fleksibilnost
[Speaker Notes: Instrumentation has always leveraged off widely used electronics technology to drive its innovation. The jewelled movement of the clock was first used to build analog meters. The variable capacitor, the variable resistor, and the vacuum tube from radios were used to pioneer the first electronic instruments. Display technology from the television was leveraged for use in oscilloscopes and analyzers. Today, cost-effective and powerful desktop and notebooks computers are paving the way for new types of instruments – virtual instruments.]

---
Prednosti merjenja s PC
Lastnosti definira uporabnik
Lastnosti definira proizvajalec
    - Z uporabo PC povečamo performanse merilnega sistema
    - za 50 do 90% zmanjšamo ceno merilnih sistemov od klasičnih merilnih instrumentov

---
Prednosti virtualne instrumentacije
Performance sistema
Fleksibilnost
Uporabnost
Konfigurabilnost
Nižja cena
Razvojni stroški
Stroški vzdrževanja
Čas
Produktivnost uporabnikov
Daje pogum za kreativnost in samostojno delo
Prave aplikacije in eksperimenti
Hitro in učinkovito grafično programiranje
[Speaker Notes: The benefits of virtual instrumentation are increased performance and reduced costs. Tight coupling to the high-performance computer ensures overall system performance continues to increase. Because the user controls the technology through software, the flexibility of virtual instrumentation is unmatched by traditional instrumentation. LabVIEW and LabWindows are modular, hierarchical programming environments making virtual instrumentation inherently reusable and reconfigurable. Not only are the system purchase prices of virtual instrumentation low due to the computer industry economies of scale, but development and maintenance costs are also greatly reduced by the use of open architecture platforms and off-the-shelf tools. Software with libraries designed for instrumentation speeds development. Code that is intuitive and self-documenting with a wide availability of troubleshooting utilities also ensures lower maintenance costs.]

---
NI LabVIEW: Zgodovina razvoja
May 2007
January 2002
August 2000
March 1998
February 1996
August 1993
September 1992
January 1990
October 1986
April 1983
•	LabVIEW 8.5 VIs, I/O Assistants, FPGA/PDA targets
LabVIEW 6.1 Enhanced networking capabilities, analysis
LabVIEW 6i Internet-ready measurement intelligence
•	LabVIEW 5.0 ActiveX, Multithreading
•	LabVIEW 4.0 Added professional tools, improved debugging
•	LabVIEW 3.0 Multiplatform version of LabVIEW
•	LabVIEW for Windows
•	LabVIEW 2.0 for Macintosh
•	LabVIEW 1.0 for Macintosh
•	LabVIEW project begins
[Speaker Notes: LabVIEW is not a new programming language, and it was not developed overnight. It is backed by almost 20 years of continuous innovation, and our customers benefit from the expertise this experience brings. These 20 years of innovation also created a worldwide network of users who have created thousands of VIs, hundreds of user groups, and a major presence in the world of measurement and automation. LabVIEW 1.0 was first introduced for Macintosh in October 1986. Since then, we continue to combine new, innovative concepts with constant improvement. Today, LabVIEW is the industry standard for test and measurement development software. Things to consider bringing out: LabVIEW 4 introduced the “undo” feature. LabVIEW 7 can interface with .NET. If you have a personal story of filing a CAR that got fixed for a newer version of LabVIEW, talk about it here. Point out that the only way LabVIEW can get better is from comments and critiques from the users and that you can champion any requests they may have. Acquire, Analyze, and Present with NI LabVIEW	32	ni.com]

---
Kompatibilnost na različnih platformah

---
LabVIEW Vsepovsod
Sensor
Embedded
(FPGA)
Handheld
Wireless
Networked I/O
PC Boards
Industrial Computer (PXI)
Tektronix Open Windows Oscilloscopes
PC, Mac, Linux, Sun
Workstation
[Speaker Notes: Delivers a vision for engineers to deploy LabVIEW anywhere they want. Continued innovation to enable engineers deploy LabVIEW from workstations to personal computers to distributed systems to embedded applications. Someday soon, we may even see sensors powerful enough to use house LabVIEW. Not only is LabVIEW everywhere, but it offers something for every scientist and engineer. All levels of users, ranging from experienced to non-programmers, will benefit from the interactive, configurable tools and in LabVIEW 7 Express, enabling LabVIEW to be used as a one integrated tool for measurement and automation throughout the design process.]

---
Zajemanje, analiziranje, in prikazovanje
Vsi testi, meritve, in kontrolne aplikacije, so razdeljeni v 3 osnovne komponente: sposobnost zajemanja, analize, in prikaz podatka. LabVIEW je najlažje, najmočnejše orodje za zajemanje, analizo, in prikaz podatkov v realnem času.

---
Zajemanje z LabVIEW
LabVIEW lahko zajema podatke:
  - GPIB, Serial, Ethernet, VXI, PXI Instruments
  - Data Acquisition (DAQ)
  - PCI eXtensions for Instrumentation (PXI)
  - Image Acquisition (IMAQ)
  - Motion Control
  - Real-Time (RT) PXI
  - PLC (through OPC Server)
  - PDA
  - Modular Instruments

---
Analize z LabVIEW
LabVIEW vsebuje naslednja orodja za p analiziranje podatkov:
  - Več kot 400 funkcij za analizo meritev , izračuni, algebra, statistike, itd.
  - novi express VI specifično izdelani za analizo meritev, vključno s filtri in spektralno analizo
  - VI za Procesiranje signala za filtriranje, vrhnjo detekcijo, RMS meritve, analizo harmonikov, spektralno analizo, itd.

---
Prikaz rezultatov z LabVIEW
LabVIEW vsebuje naslednja orodja za pomoč pri prikazovanju podatkov:
  - Na vašem računalniku — Graf, Charts, tabele, števci, metri, Tanks, 3D kontrole, slikovne kontrole, 3D Graf , oblikovanje poročil
  - Preko interneta — Web Publishing Tools, Datasocket (Windows Only), TCP/IP, VI Server, Remote Panels, Email

---
Network-based Measurement & Automation
Merjenje in avtomatizacijo sistemov lahko izvedemo preko lokalnega ali internet omrežja
Acquire
Anywhere
Analyze
Anywhere
Present
Anywhere
Network
Network

---
Grafično programiranje za testiranje, merjenje in kontrolo
  - Hiter razvoj aplikacij z Express VI in enostavna uporaba grafičnega okolja
  - Interaktivni asistent za meritve in močan DAQ vmesnik za priklop vseh I/O tipov.

---
Virtual Instruments (VIs)
Čelna plošča
Kontrole = vhodi
indikatorji = izhodi
Diagram
Grafično programiranje
[Speaker Notes: LabVIEW programs are called virtual instruments (VIs). Stress that controls equal inputs, indicators equal outputs. Each VI contains three main parts: Front Panel – How the user interacts with the VI. Block Diagram – The code that controls the program. Icon/Connector – Means of connecting a VI to other VIs. Do not spend too much time on this slide. Explain that we will go into more detail as we go through the slides.]

---
Naš laboratorij
Computer
LabVIEW
GPIB Instruments
RS-232 Instruments
Plug-in DAQ Boards
and Signal Conditioning
Process
or
Device
[Speaker Notes: Computers are becoming standard equipment in classrooms and labs because they can do so many different things. Computers offer an amazing amount of functionality for the price – they can do everything from controlling an ice cream-making process (which they do at Ben & Jerry's) to balancing your checkbook. With the use of computers, lab maintenance costs decrease while flexibility and productivity increase. A student can write a report using the same piece of equipment he or she used to run the experiment, or the student can save the data to a disk and take it home for processing. Students can spend their time actually doing the experiment, rather than painstakingly recording data by hand. Such a time savings can also mean that more students can use the same lab equipment, which further reduces costs. With LabVIEW, you can use your computer for many different laboratory tasks – controlling RS-232 or GPIB instruments, acquiring or generating analog or digital signals, and processing the resulting data in a custom format. With LabVIEW, you get precisely the functionality you need at any stage of your experiment.]

---
Večje reference v Sloveniji
- Iskra Ferriti Ljubljana
- Ministrstvo za obrambo
- Ministrstvo za notranje zad.
- Gorenje d.d.
- ELTEH Kranj
- Turbo Inštitut Ljubljana
- Inštitut Jožef Stefan
- Inštitut za rehabilitacijo
- Litostroj Ljubljana
- Fotona Ljubljana
- Železarna Ravne
- Zavod za meroslovje
- Iskra EMECO
- Iskra Autoelektrika
- JP Energetika Ljubljana
- Nuklearna elektrarna Krško
- Elektro Gorenjska
- Elektro Inštitut Milan Vidmar
- Klinični center Ljubljana
- Elektro primorska

---
Reference v šolstvu
- Fakulteta za elektrotehniko Ljubljana (organizirane vaje)
- Fakulteta za elektrotehniko Maribor (organizirane vaje)
- Fakulteta za strojništvo
- Fakulteta za kemijo in kemijsko tehnologijo Ljubljana
- Fakulteta za kemijo in kemijsko tehnologijo Maribor
- Fakulteta za šport v Ljubljani
- Fakulteta za arhitekturo, gradbeništvo in geodezijo Ljubljana
- Fakulteta za medicino v Ljubljani
- Višja strokovna šola Velenje (Organizirane vaje)

---
Aplikacije v industriji
- Avtomatizacija merilnega mesta za merjenje mase (ZMS)
- Avtomatizacija odčitavanja tekočinskih termometrov s CCD kamero in umerjanje
- Meritve geometrijskih točk igralniške rulete (Casino Nova Gorica)
- Nadzor in uporaba procesa taljenja jekla (Železarna Ravne)
- Karakteristika dizelskega motorja (FERI)
- Umerjanje ultrazvočnih toplotnih merilnikov (EMECO)
- Merjenje vibracij na pralnem stroju (Gorenje)
- Preizkušanje steklokeramičnih plošč (Gorenje GA)

---
Učenje programa LabVIEW:
- seminarji
- Samostojno učenje preko interneta
- Učenje na daljavo
[Speaker Notes: The LabVIEW Student Edition software comes with a 400-page user's guide designed for students to work through on their own or as part of a course so that they can come up to speed quickly. With their own personal copy of LabVIEW, students can spend more time at home learning to program, creating experiments, and processing data, resulting in more lab time devoted to actual experimentation. LabVIEW provides an affordable solution for anyone who wants to automate their laboratories with computers, provide students with real-world problems to solve, and encourage student independence and creativity.]

---
Primeri aplikacij v programskem paketu LabVIEW, ki tečejo na Šolskem centru v Velenju s sodelovanjem s podjetij.

---
IZVEDBA VEČKANALNEGA MERILNIKA TEMPERATUR S POMOČJO PROGRAMSKEGA PAKETA LabVIEW

---
Merjenje temperatur v okolici in središču vgradne pečice (Merilni rezultati)

---
Merjenje temperatur v okolici in središču vgradne pečice (Merilni rezultati)

---
Krmiljenje in nadzor črpališča

---
Sistem črpališča

---
Sistem črpališča

---
Čelna plošča aplikacije črpališča

---
Diagram aplikacije črpališča

---
Krmiljenje, merjenje in nadzor na pralnem stroju Simple&logic

---
Čelna plošča

---
Diagram

---
ZASNOVA NAPRAVE IN IZDELAVA
PROGRAMA ZA TESTIRANJE
ELEKTROVENTILOV V PRALNIH STROJIH

---
ELEKTROMAGNETNI VENTIL
Tehnične lastnosti
Vhodni priključek:	z navojem 3/4“
Izhodni priključek:	Ø 11 mm
Ohišje ventila:	plastika s steklenimi vlakni
Tuljava:	zaprta z vodoodporno in	samogasno plastiko
Električni priključek:	priključek DIN 46244
Pretok:	10 l/min ±10% pri 2-10 bar
Delovni tlak:	od 0,2 do 10 bar
Porušitveni tlak:	min. 80 bar
Hidravlični udar:	nižji od 2 bar pri 6 bar
Delovno območje:	100% pri temperaturi okolice 60°C in	temperaturi medija 25°C
Električna priključitev:	220/240 V AC, 50/60 Hz
Moč tuljave:	7 W pri 230 V~
Izolacija:	razred F
3%
Enojni ventil, ločen dovod tople/hladne vode
97%
Dvojni ventil, dovod vode v dozirno posodo,
škropljenje

---
Posamezni segmenti naprave
Transformatorji, napajalnik
Merilni pretvorniki
- 10 merilnih mest
Analogno/digitalne kartice

---
PREGLED MERITVE
Prikaz meritve
Izpis merilnega protokola

---
Testiranje letalskih motorjev s programom LabVIEW

---
Program za testiranje motorja

---
Časovni diagram obratov enournega testa Lycoming O-320 motorja

---
Informacije o programskem paketu LabVIEW
- Predstavništvo v Sloveniji – National instruments, Celje
- Informacije o programu LabVIEW se lahko dobijo na spletnih straneh www.ni.com/
- Program lahko uporabljamo na vsakem osebnem računalniku z WIN 95/2000,XP…, zaželeno pa je, da imamo na voljo 75MB prostora na trdem disku in 16MB RAM